HOME OWNER’S

INFORMATION PACK (HOIP)

for

FOVERAN VILLAGE, FOVERAN

(applicable to Plots 1-26 & 37-50)

www.scotia-homes.co.uk

Please read this document in conjunction with the NHBC booklet ‘Guide to your new home – A practical guide to looking after your new home’, the Sales Specification / Bespoke Options documents (received at reservation stage), plot specific drawings and Statement detailing Extras/Options (both issued at reservation stage or as you have confirmed any choice of these).

Rev. 13 04/10/2018

Contents

Page

HOME SAFETY INFORMATION	4

CUSTOMER CARE	4

LABELLING OF KEY SERVICES	5

nHBC HUG (HOME USER GUIDE)	5

npa (Nationwide Property Asistance) EMERGENCY COVER	8

OPERATING INSTRUCTIONS FOR GAS-FIRED CENTRAL HEATING AND HOT WATER SYSTEM	9

RADIATOR SAFETY PRECAUTIONS AND RADIATOR NOTES	12

HEATING AND HOT WATER INSTALLATION	13

GAS SYSTEM	14

HOT AND COLD WATER SERVICES	15

KITCHENS	21

EXTRACTOR FANS (DMEV SYSTEM)	36

VENTILATION AND AVOIDING CONDENSATION	37

TELEVISION INSTALLATION	39

COMMUNAL DIGITAL TELEVISION AND SATELLITE INSTALLATION (only applicable to plots 5-8 & 37-42)	39

TELEPHONE INSTALLATION	43

Fibre broadband internet connectivity	44

WINDOWS AND FRENCH DOORS	44

INTERNAL DOORS	48

EXTERNAL DOORS	48

GARAGE DOORS	49

PROVISION FOR A GROUND FLOOR SHOWER	50

OPERATING INSTRUCTIONS FOR THE ELECTRICAL INSTALLATION	50

IF AN ELECTRICAL CIRCUIT FAILS	51

SMOKE, HEAT & CARBON MONOXIDE DETECTORS/ ALARMS	51

WALL TILING	52

SHOWER WALL PANELLING (where fitted)	53

INTERNAL DRAINAGE – ACCESS POINTS	53

FLOOR FINISHES	53

ROOF SPACE	54

CONSTRUCTION OF WALLS, PARTITIONS, FLOORS & CEILINGS	55

FIXING TO WALLS, CEILINGS OR FLOORS – IMPORTANT NOTICE	57

external fixings	57

efflorescence	58

CARE AND MAINTENANCE OF BOUNDARY WALLS	59

EXTERNAL AREAS	66

DRAINAGE CONSIDERATIONS	68

Temporary waste water treatment plant (TWWTP)	74

METERS	75

UTILITY SUPPLIERS	75

LOCAL AUTHORITY REFUSE AND RECYCLING COLLECTION	76

council tax	77

temporary awpr diversions 2017-2018	77

SCHEDULE OF TEST CERTIFICATES	78

Energy related Products (ErP) Directive	79

SCHEDULE OF MATERIALS	83

NOTE:

The information contained in this document is for our standard house types and may not cover specific variations requested by you. It is believed to be correct at the time of writing but may be subject to specific variations in design, materials or any other factors which have effect before, during and after the construction process. Consequently it should be treated as general guidance and cannot be relied upon as providing an accurate description of any of the matters illustrated therein.

HOME SAFETY INFORMATION

We are delighted that you have purchased one of our new homes and we hope very much that you enjoy living in it.  We go to great efforts to design and build our homes to provide you with high levels of safety, but all homes have inherent risk, and it is our aim to help you identify and manage these risks.

This Home Owner’s Information Pack contains a lot of information about the different systems within your new home and you are encouraged to read all the supplied ‘user manuals’ before using any of your home’s systems or appliances.  Specifically, we would like to draw your attention to some key risks that are sadly all too often common causes of accidents in domestic properties:

Gas safety https://www.gassaferegister.co.uk/help-and-advice/gas-safety-in-the-home/gas-safety-tips/

Carbon monoxide http://www.rospa.com/home-safety/advice/carbon-monoxide-safety/

Fire safety http://www.firescotland.gov.uk/your-safety.aspx

General home & garden safety http://www.rospa.com/home-safety/advice/general/home-garden-safety-checklists/

We recommend that you take the time to look at the important safety information and advice provided in the links (to the right of the above points and accessible via www.scotia-homes.co.uk). Following the advice will help keep you and your loved ones safe and able to enjoy your new home in the future.

If you do have any safety concerns about any aspect of your new home please contact our customer care department customercare@scotia-homes.co.uk.

CUSTOMER CARE

Should you need to contact our customer care department and your query cannot be answered by reference to this document or the information available within your NHBC HUG (Home User Guide) as detailed below, there are various contact methods available to you:

Customer Care Department, Scotia Homes Ltd., Balmacassie, Ellon. AB41 8QR

Electronic mail: customercare@scotia-homes.co.uk

Telephone: 01358 722441

www.scotia-homes.co.uk

LABELLING OF KEY SERVICES

You may find identification tags throughout your new home, which provide easy reference for key valves and taps which may be required to isolate services in the event of an emergency or as part of routine maintenance.

The image below shows briefly what these are in reference to and the specific tags will be shown throughout this HOIP, alongside more detail as to their specific function. These are provided as an aid and we recommend that you familiarise yourself with their location. As with all matters relating to plumbing, electricity or which may threaten your health and safety, we suggest the use of a qualified contractor for more complicated works or if you are not fully competent.

nHBC HUG (HOME USER GUIDE)

Our homeowners are provided with a HUG (Home User Guide) with their new home.

HUG is an online reference portal for you which has been tailored to your property.  It aims to take some of the strain by providing you with a single, online place where you can easily and securely access all the information you need about your new home including local area information, appliance manuals, floor plans and helpful ”How to” videos, along with key information relating to your NHBC Buildmark cover. This is hosted by the NHBC and also has input from Scotia prior to handover.

The HUG also contains a wide variety of answers to frequently asked questions, maintenance recommendations and important safety information. Much of this information will be shared with the detail in this document, which is written specifically for your development. We recommend that you read both together, and this HOIP is available within your HUG for that purpose.

A brief introductory video to the NHBC HUG can be viewed here: https://www.youtube.com/watch?v=d-fezWUMkLs#

Shortly after handover, you will receive a welcome email from support@hug-nhbc.co.uk  inviting you to register with HUG. All you need to do is follow the emailed instructions to start benefitting from everything that HUG has to offer. If you haven’t received a HUG invitation email, please double check that the email hasn’t ended up in your spam/junk folder, then please contact us and we can arrange for the invitation to be resent to you.

Once you’ve registered you can access your HUG whenever you like, 24 hours a day and 7 days a week, by typing http://hug.nhbc.co.uk into your web browser’s address bar.

Although information is also and initially uploaded to the HUG by Scotia, once you take ownership of your new home, the HUG also transfers to you for the life of the NHBC Buildmark warranty. Scotia can only add additional documentation to your HUG for a period of 60 days after handover.

The document you are reading will already have been uploaded to the HUG, but it is important to note that, along with other documentation, this will be accurate at the point of handover and any updates made after the aforementioned 60 day period cannot be amended on the HUG. For that reason, any specific information that has been uploaded is intended for illustration purposes only and is subject to change. Consequently it should be treated as general guidance and cannot be relied upon as providing an accurate description of any of the matters illustrated therein. Should you be considering major changes or are reliant on exact detail, you must check and confirm this before taking action.

You may choose to upload various forms of information such as utility bills and other reference information, which you may not wish to pass to a future owner, but the HUG itself will prove a valuable tool for that future owner through any remainder of the NHBC warranty period, and may indeed prove attractive to a prospective purchaser when considering the merits of a particular property.

Should you sell your property, please be aware that if you wish to transfer control of the HUG to a new owner or you want to leave the HUG, there is facility to do this from the “Manage homeowners” page within the HUG. This gives you the opportunity to delete, move or leave some of the specifications, manuals or files that are in this HUG.

npa (Nationwide Property Asistance) EMERGENCY COVER

Your home is covered under NPA’s Home Emergency Assistance Cover for a period of 24 months from your legal date of entry.

Details of the cover will be provided direct to you by NPA and the following notes provide some outline points for your information.

The NPA cover includes items such as blocked or burst pipes (where they occur within your home) and damaged window and door locks to your home where there is a risk to security. Some examples of what is/ is not covered are shown in the list below - please note that some of these examples may not apply to your own property.

In an emergency situation (as defined in the Cover Summary which will be provided to you direct by NPA) where any of the covered items are affected you should contact NPA directly instead of Scotia.

At the time of writing, the emergency contact number for NPA is 0345 1552374.

Any non-emergency problem occurring inside your home (and occurring within 24 months of your legal date of entry and which is not classed as an emergency by NPA) should be reported to the Scotia customer care department during normal office hours.

Please also note that any problems in the communal (where applicable) areas of the building (the corridors, stairwells and external areas) should also be reported to the factor – these areas are also not covered by NPA.

| Examples of what is covered | Examples of what is not covered |
| --- | --- |
| Internal Plumbing & Drainage (inside your home) Repairs to your internal plumbing and drains including where there is a loss of water to your property, Blocked drainage and leaks (inside your home) Clearing blocked toilets and waste pipes (inside your home) | Showers including the shower unit, controls, outlet or shower head Replacement of water tanks/radiators, thermostatic radiator valves, hot water cylinders and sanitary ware |
| Clearing total blockages to your drainage pipes (inside your home) | Shared drains External guttering, rainwater downpipes, rainwater drains and soakaways |
| Electrical Emergency & Breakdown An emergency caused by, or breakdown of, the domestic electrical wiring supply system, including permanent damage caused by a power cut | All non-permanent wiring/electrics, e.g. kettles, fairy lights or any other and appliances with plugs Shower unit or immersion heater unit |
| Security Making your property secure in the event of broken locks for external windows and doors that are your responsibility | Doors (and windows) which do not secure your property, such as internal porch doors, internal doors and internal conservatory doors Failure of breakdown of the external locking mechanisms to doors or windows for outbuildings or a garage |

OPERATING INSTRUCTIONS FOR GAS-FIRED CENTRAL HEATING AND HOT WATER SYSTEM

Introduction

Your home has been fitted with a gas-fired heating system serving radiators and also providing a domestic hot water supply. The gas–fired boiler is normally located in the Kitchen or Utility room (where applicable, please refer to drawings for specific location) and you will find the operating and maintenance instructions for the boiler in your handover pack. The boiler has been set up and commissioned – you should carry out no adjustments to the boiler.

If, after referring to the user information on the boiler controls in the boiler instruction manual, you are unable to find the answers to any boiler problems and the problem is an emergency which has arisen during the first 24 months after your legal date of entry to the house, then please contact NPA (please refer to the section on NPA below). If the fault is not an emergency (as described in the NPA cover summary) and you are still within the warranty period, then please contact the Scotia Customer Care department during normal office hours.

You are responsible for the annual maintenance and servicing of the boiler, this should be arranged through any reputable, Gas Safe registered, plumbing and heating contractor.

Heating and Domestic Hot Water Controls

The system has the following controls:-

Boiler isolating switch.

Programmable Room Thermostat

Thermostatic radiator valves to radiators (except on the bypass radiator)

1. Boiler Isolating Switch

This switch will normally be found on the wall next to the boiler.

This switch is to isolate the electrical supply to the boiler and should be left on at all times. Only use this switch if a fault develops on the boiler.

2. Programmable Room Thermostat

Your home has a programmable room thermostat located normally on the wall in the utility or kitchen area (depending on your house type) and it is linked to a remote temperature sensor located typically in the hall.

Example of a typical TP9000 Programmable Room Thermostat (the exact model varies depending on house type and therefore you may have a different model- typically Danfoss TP7001 or TP9000 programmable room thermostats are installed – the model is marked on the room thermostat);

Drawing of a typical remote temperature sensor (linked to the programmable room thermostat);

The programmable room thermostat controls the boiler, telling it when you require central heating and hot water. It has the facility to give several on/off times. Temperatures can also be selected for each on/off time. When the heating is selected on it will operate until the set temperature is achieved. Note that the temperature is measured by the remote temperature sensor- not by the programmable room thermostat. The remote temperature sensor should not be covered or otherwise obstructed as this may impair its ability to accurately measure the room temperature.

When the system is selected off, the boiler will not operate unless the temperature drops below the setback temperature selected. You can select your minimum desired house temperature, normally this can be set between 12 and 16°C. Please refer to the manufacturer’s instructions in your home owner pack for the programmable room thermostat for further instructions.

NOTE: Consideration to the setback temperature should be given if your home is likely to be unoccupied for a longer period of time, perhaps for an extended holiday. The central heating and hot water system should not be switched off completely under normal circumstances.

3. Thermostatic Radiator Valves

Thermostatic Radiator Valves (TRV’s) are fitted for comfort control i.e. 1 – low level heat, 5 – maximum level heat. They are fitted to all radiators except radiators in rooms where there is a room thermostat. They are essential to the full efficiency of your heating system and allow you to lower temperatures in unoccupied rooms thus reducing heating costs. TRV’s sense room temperature changes in individual rooms and adjust the flow of heated water through the radiators to maintain the desired temperature. Depending on level of comfort required, 2 – 3 should be selected. Please refer to the manufacturer’s instructions in your Handover Pack for full details.

Picture showing a typical Thermostatic radiator valve, Note - the type fitted in your home may vary.

Central Heating

Should your central heating or hot water fail to work, please ensure that all of the procedures laid out in the boiler manufacturer's literature are followed. Failure to do this may result in a charge being made for an unnecessary call out.

Bleeding of Radiators

This should not be required with a sealed system. However, radiators feeling warm at the bottom but cold at the top would indicate air in the radiator. There are airing points normally at the top of the radiator. An air-bleeding key (available at any hardware store) can be used to allow trapped air to escape.

1. Keep your heating system on low so it remains pressurised, but be aware that the water in your radiators will be hot, so do take extra care.

2. Attach a radiator key to the bleed valve, usually located at the top and to one end of the radiator, and slowly begin to turn anti-clockwise.

3. Keep turning until you hear a slight hiss of air. When water begins to escape instead of air, you know it’s time to close the valve as all of the trapped air has now escaped. Hot water may spurt out quite quickly so do protect yourself and the area around.

4. Tighten up the valve by turning the key clockwise.

5. Check the pressure gauge on the boiler, if it is below that recommended in the manufacturer's instructions, then it will be necessary to top up the system. See enclosed boiler user guide for full instructions.

You may find the heating filling loop and the central heating drain off valves identified using the tags below (draining the central heating system should only be done by a qualified engineer):

Throughout this process you should always place a cloth beneath the valve to catch any water that might leak from it, which could discolour floor coverings due to the additives within the heating system

You may find the following video useful as an example of how to bleed a radiator:

https://www.youtube.com/watch?v=UqK53MPioHI

RADIATOR SAFETY PRECAUTIONS AND RADIATOR NOTES

Myson Premier HE roundtop radiators have been installed in your home. Should the radiator become chipped or paint damage occur then touch up paint (RAL 9016) can be purchased from the Myson sales office on 0845 402 3434.

Radiators are hot when in use and as such users should ensure that those who may come into close proximity to hot radiators are aware of the risks of burns from prolonged contact.

Where necessary, users should take steps to minimise the risks of burns from hot radiators (for example where there are very young children in the room). Where applicable, consideration should be given to placing guards in front of the radiators or reducing the temperature of individual radiators by turning the thermostatic radiator valve to a low setting.

Radiators are heavy items and are securely fastened to the wall on installation, with appropriate fasteners to secure the radiator bracket and suit the construction of the wall.

Decorative covers (such as the decorative perforated MDF or timber covers that you can purchase from DIY stores) will significantly reduce the output of a radiator and thermostatic radiator valves should not be fitted inside these radiator covers (as this will stop the valves from working efficiently). These covers are not recommended as they will, by consequence, impede an individual room’s heat requirement, which your new heating system has been carefully designed to provide. The only exception to this would be the comments above regarding safety of young children. If you do need to fit a radiator cover for this purpose then you should use one of the metal mesh type covers, similar to a fire place guard, which will not impede the flow of heat from your radiator into the room.

Radiators should not normally be used for the mounting of clothes racks, cat beds or other such fixtures. The mounting brackets of the radiator are designed to support the weight of the radiator itself and water contents, allowing for an adequate safety margin, and additional weight may compromise this margin and cause risk of failure, leaks and potential hot water burns.

Appropriate facilities are required by Building Regulations for internal and/or external drying facilities and these are provided (please see “Ventilation and avoiding condensation”). Radiator-mounted drying rails and other devices may lead to excessive internal moisture and any chips/damage caused to the radiator itself may compromise the protective coating and potentially lead to corrosion/failure, which may not be covered by warranties.

Note regarding curtains – Heavy curtains or lined curtains drawn over the windows are an effective way of reducing any heat loss through the windows during the autumn and winter months. The sooner you draw the curtains in the evening the more heat you will save. However, please note that if there is a radiator located below the window, and the curtains are too long and cover the radiator then much of the heat generated by the radiators will not find its way into the room and will instead be wasted out the window. Curtains covering the thermostatic radiator valves will also interfere with the operation of the valves.

HEATING AND HOT WATER INSTALLATION

Heating and hot water are provided by an Alpha InTec 34C wall mounted, high efficiency boiler with a gas saver flue heat recovery unit. A 50 litre thermal store may also have been installed (this depends on the house type).

Please note that to obtain the maximum performance and efficiency benefits the gas saver flue (and thermal store, where fitted) must be switched on. Turning off the gas saver flue will mean you lose efficiency benefits. Turning off the thermal store (where fitted) will mean you lose efficiency benefits and the available volume of hot water will be significantly reduced.

A copy of the user manual, installation & service instructions, inspection, commissioning and service record logbooks for the system are enclosed  with your home owner pack.

An annual gas service of the boiler and inspection/maintenance of the associated equipment, in accordance with the manufacturer’s instructions, is required to be carried out by Gas Safe registered personnel.  Failure to carry this out will invalidate the manufacturer’s and NHBC warranties.

GAS SYSTEM

Never obstruct gas boiler flue outlets or any ventilation, if provided, to the boiler. Never tamper with the gas installation or equipment.

Any alterations to the gas supply pipework or work in construction with any gas appliance should only be carried out by GasSafe registered personnel.

You are responsible for the annual maintenance and servicing of all gas appliances such as the gas boiler, oven or hob (as applicable to your home) and this should be arranged through any reputable, Gas Safe registered plumbing and heating contractor.

If you suspect a gas leak:

1.	Extinguish all naked flames.

2. 	Do not use any electrical switches or appliances

3.	Turn off the gas at the meter.

4.	Open all doors and windows.

5.	Call the National Gas Emergency Service on its emergency number which is in the telephone directory under ‘GAS, Gas Emergency’. There is no call-out charge. The current emergency number at date of preparation of this document is 0800 111999. This service operates 24 hours a day and 365 days a year. http://www2.nationalgrid.com/uk/safety/.

Please be aware that this service is an emergency service, defined in the same way as others, such as the police, fire service etc. Their first and only priority is safety i.e. they will isolate and make safe any leak as quickly as possible.

Ongoing repair of any faulty appliance etc. does remain the owner’s responsibility.

HOT AND COLD WATER SERVICES

Mains Cold Water Service

The internal stopcock for the incoming cold water service is located typically under the kitchen or utility sink which, in an emergency, should be used to shut off the water in your house.

There is also an external stopcock located in a boundary box within the public footpath near your house which also shuts off the water to your house (this is primarily for the water authority’s use in an emergency).

Make sure that you know where your mains water stopcocks are located so that you can turn them off quickly in an emergency.

You may find the external tap isolation valve identified using the tag below:

Domestic Hot Water

The Alpha Intec 34C boiler produces domestic hot water in an energy efficient manner and the operation of this is fully explained in the enclosed Instruction Manuals. Please also refer to the notes in the Heating and Hot Water Installation section above.

External Water Tap (if fitted)

Where there is a risk of severe frost, the water supply to any external tap should be isolated, pipe work drained, and the tap should be left in the open position. There is normally a shut off valve inside the house to allow you to easily turn the water off to the garden tap. We also recommend fitting an insulating external tap cover to external taps during winter months – these covers are available from any good gardening or DIY store.

Steps to take:

1. Isolate (turn off) the 15mm supply stopcock for the outside tap, which will either be located under your Kitchen/Utility room sink or beside your boiler (there may be more than 1 brass stopcock located in this area, 15mm is the smaller one).

2. Open the outside tap, allow water to escape and leave tap in open position.

3. Ensure the drain point on the lowest point of the external pipework (small brass drain valve) is also left open.

4. In Spring and once temperatures are above freezing point, close the outside tap and turn back on the stopcock inside the house.

You may find the external tap isolation valve identified using the tag below:

Sanitary Ware/Taps

Introductory notes:

Sanitary ware and taps should be cleaned in accordance with the manufacturer's instructions, copies of which are enclosed in your home owner pack or are available from the manufacturer’s web site. The following are some important points to remember when cleaning and maintaining your sanitary ware and taps. Note that the information in this section covers standard sanitary ware and fittings being installed at the date of preparation of this document - if you have asked for different fittings as a client choice then the following notes may not be applicable.

Baths:

The bath should always be cleaned immediately after use, preferably while the water is running out and the bath is still warm. Hot soapy water with a cloth should be used and the bath wiped dry.

Never allow solvents such as dry cleaning agents or paint strippers to come into contact with an acrylic bath.

Never use gritty or abrasive cleaners on the sanitary ware which can cause scratches and other damage.

The manufacturer of the bath (where fitted) recommends the use of an anti-slip mat when a shower is installed over the bath.

WCs

Please note that WC cistern valves should be checked periodically and maintained as described in the manufacturer’s instructions contained in your home owner pack. We recommend that if you contact a plumber if you suspect that a WC valve has developed a fault.

A concealed cistern may be used where a bulkhead will be formed with a screw-fixed MDF cover which may be removed for access maintenance.

Image below of typical concealed cistern bulkhead top & fixing detail:

Wash hand basin and bath taps:

The following are extracts from the manufacturer’s aftercare instructions for the wash hand basins and bath (if applicable) taps;

Bristan Prism basin and bath mixer taps (cleaning and care):

Note: if your tap begins to drip then maintenance is required - please refer to the instructions contained in your hand over pack (extracts of which are also copied below. We recommend that the maintenance work on your taps is carried out by a qualified plumber.

Bristan Prism bath filler parts list and maintenance:

Bristan Prism basin mixer tap parts list and maintenance:

Bristan Prism recessed thermostatic dual control shower valve (where applicable) - operating instructions:

Bristan Prism shower valve cartridge maintenance:

Note- we recommend that all maintenance work on your shower valve is carried out by a qualified and experienced plumber.

Bristan Prism dual control shower valve – adjusting the temperature:

The shower has been factory set to typically 42 degrees centigrade (this is a safety feature). It is possible to adjust the temperature setting and the ‘installation instructions and user guide’ for the Bristan thermostatic dual control shower valve contained in your hand over pack provides details. Please note we recommend that any adjustments to the temperature setting must be carried out by a qualified and experienced plumber and you should be aware that having the setting adjusted so that it can produce higher temperatures could have safety implications.

Kitchen sink and tap

Please refer to the kitchens section of this Home Owner’s Information Pack for cleaning and maintenance instructions for the kitchen sink and kitchen mixer tap.

Isolating valves on pipework to taps

Please refer to the notes on isolation valves contained in the Kitchens section of this Home Owner’s Information Pack for details of how to use isolating valves (where fitted).

Thermostatic mixing valve

A thermostatic mixing valve is fitted below the bath. It limits the hot water temperature at the bath tap to a maximum of 48°C. This is a building regulation requirement. Access to the thermostatic mixing valve is normally obtained by removing the bath panel.

The thermostatic mixing valve manufacturer’s instructions recommended that you arrange for initial temperature checks to be carried out six weeks after occupation of the property, and then for an annual check to be carried out. This is to test the water temperature from the tap to make sure that the mixing valve is operating properly and to ensure the maximum limit of 48°C is not exceeded.

Hot Water Temperature (kitchen sinks and wash hand basins)

The hot water from your kitchen sink taps and wash hand basins can be very hot depending upon the boiler settings. The hot water can initially have a low temperature as cooler water sitting in the pipes is discharged but can then become hot suddenly. Appropriate care should be taken to avoid risks of scalding.

KITCHENS

Refer to the manufacturer’s instructions for operating and cleaning of kitchen appliances, sinks, units and worktops. These are enclosed in your handover pack (typical extracts from kitchen instructions have also been included below).

Any appliance fitted within the property such as oven, hob, extractor hood, etc. will be covered by the manufacturer’s normal warranty. Smeg appliances only – these are covered by a manufacturer’s 2 year warranty which is pre-registered, do not re-register this warranty as this may cause the warranty inadvertently to revert to 1 year. In the event of a fault, a Smeg contact information sheet is included within the handover material, post code and plot handover date must be quoted for reference.

Notes on kitchen appliances:

Cooker hood – Please refer to the manufacturer’s instructions for operating, maintaining and cleaning instructions for the cooker hood (which are contained in your home owners pack, or are available for download from the manufacturer’s website).

Please note the following important points which are applicable to all cooker hoods;

- There can be a fire hazard if the grease filters are not maintained as recommended in the manufacturer’s instructions (the metal grease filter and the inside of the cooker hood must be cleaned at least once a month- or more often depending on the sort of cooking and if used more than 3 hours a day).

- Never leave gas hobs lit if not covered by a container- any accumulation of fats and other cooking residues in the filters may drip and catch fire from the heat from the ‘open flame’ hob.

- Do not cook under the cooker hood if the metal filters are not fitted- e.g. if you have them removed for cleaning.

- You must not produce flames under the cooker hood.

- Do not place anything on top of the cooker hood.

- Disconnect the appliance from the electricity supply before carrying out any cleaning or maintenance work.

Connecting appliances – (where applicable)

Electrical connections for cookers and other electrical appliances requiring wiring work should be made by a qualified electrician using the pre-fitted wiring and fittings installed for this purpose.

When fitting a dishwasher or washing machine, please ensure the blanked end of the waste pipe tee piece has been removed. Note – this is not applicable where a ‘standing waste’ pipe has been provided. Please also ensure that the water supplies and wastes are securely connected to the pipework.

Please also note that, where Scotia have not installed a washing machine but have left a space for one with a cold water supply adjacent to it, then the home owner is responsible for removal of the cap that has been fitted to the cold water washing machine valve – please ensure you remove this cap before making the water connection to your washing machine. Please also ensure that the appliance water supply and waste pipe is securely connected to the property’s pipework before turning the appliance on.

An useful video demonstrating the typical process for connection of such appliances can be viewed here:

https://www.youtube.com/watch?v=0RXYB8e3q5g

You may find washing machine/dishwasher isolation valves identified using the tags below:

Kitchen sink – care

The following are extracts from typical kitchen sink manufacturer after-care instructions (please note that these may be applicable to different products, depending on specification/your choice of upgrades):

BLANCO UK LTD

Stainless steel – use & care Instructions

How do I clean the surface and prevent stains?

Daily cleaning should be carried out using a cream cleanser such as ‘Cif’ on a soft cloth.  This should be adequate to remove such marks as tea stains and grease.  The everyday film of limescale, which occurs in hard-water areas, can be quickly removed using ‘Cif’ or ‘Bar Keeper’s Friend’.  Should a thicker layer form, then this will require treatment with a proprietary limescale remover and a soft brush. Rinse the sink thoroughly after limescale treatment.  ‘BlancoPolish’ is recommended for intensive cleaning and to refresh the surface.

Which substances should not be allowed to come into contact with a stainless steel surface?

Mortar, cement, plaster, concrete, tile cement, grout, bleach, diluted bleach, cleaning products with bleaching agents or chlorine, acids, silver dip, photographic fluids, lengthy contact with salty liquids, hair dye.

Does stainless steel scratch?

BLANCO stainless steel sinks will scratch during normal use. However, the appearance of the scratches can be made less noticeable using a proprietary stainless steel cleaner.  Also, as the sink ages, the scratches gradually become less noticeable.

Can stainless steel sinks rust?

Due to the composition of BLANCO sinks, they are incapable of rusting. However, should the surface of the sink be harbouring particles of, for example; plumbers swarf, steel wool pads, cast-iron pans, metal filings flushed through from mains pipeline, then it can give the appearance of having rusted. Water borne particles are particularly noticeable when new piping has been installed. These rusted particles should be removed using a proprietary stainless steel cleaner, e.g. Bar Keeper’s Friend, followed by thorough rinsing and drying with a soft cloth. If these particles are allowed to stand for any length it is possible for pitting to take place.

What would happen if I applied excessive heat to the Stainless Steel?

Flames or excessive heat, if applied to Stainless Steel will turn it blue or gold.  This is an irreversible reaction, although chrome or stainless steel polishes (e.g. ‘Autosol’) can effect some improvement.

Kitchen sink mixer (tap) – maintenance

The following is an extract from the Bristan Ruby Kitchen Sink mixer manufacturer’s instructions;

‘Parts list’ and maintenance notes:

Notes on isolation valves:

Isolation valves may have been fitted to your kitchen sink tap (and also may have been fitted to utility and bathroom taps) - these valves, where fitted, allow the water to be turned off to the tap only to allow maintenance work to be carried out on the tap (instead of shutting off the water to the whole property). The two diagrams shown below show the isolating valves in the closed and open positions.

Kitchen units and worktop care notes:

Please refer to the information contained in your home owner’s pack for information on the manufacturer’s recommendations for kitchen unit and worktop cleaning and maintenance. We have also included some general notes below (note that not all of the following information may be applicable to your home depending on your house type and choices you have made for your kitchen);

PRODUCT CARE GUIDE & SPECIFICATION

The new doors on your kitchen are made from the finest materials, designed to give years of satisfaction. To help maintain the original beauty of your kitchen we recommend following these simple guidelines.

To prevent heat damage to foil wrapped doors we strongly advise that extractors are always switched on above working hobs.

WOODEN & FOIL WRAPPED DOORS

For persistent marks they can be removed by first using a very mild solution of water and household detergent (non-abrasive) or sugar soap can be used which Is good for removing grease. Once the mark is removed the area should then be wiped over with a damp soft cloth to remove any excess and then finally dried with a soft, clean cloth. No water should ever be left on any surface of the door for any length of time. On no account must an abrasive or solvent cleaner be used as they could damage the surface.

GLASS DOORS

A non-abrasive window cleaner should be used. If the door is leaded, care should be taken using cleaning solutions on the decorative leading. Occasional marks can be removed with a soft damp cloth, warm water and a very mild detergent. Moisture will not harm the surface of these doors but In order to protect the doors never allow water to lie on any surface, always wipe away any spillage immediately. Do not use harsh abrasive powders or solvents as they will damage the surface.

POLYURETHANE LACQURED DOORS

Occasional marks in most cases can be removed with a soft damp cloth. More persistent marks can be removed using a solution of 50% water and 50% methylated spirits. Once the mark is removed the area should be wiped over with a damp cloth to remove any excess and dried with a soft clean cloth. Do not use other solvents or an abrasive cleaner as these could cause permanent damage to the surface.

STAINING

The finishes used on various doors will resist most household chemicals. However damage and discolouration can be caused by some chemicals and strong dyes such as concentrated fruit juices, beetroot juice etc. If spillage occurs wipe away and rinse immediately, ensure to leave the door dry.

When cooking and washing try to ensure there is adequate ventilation. Changes in temperature and humidity should be avoided as much as possible.

In the production of solid wood and veneered doors great care is exercised in the selection of material. However, being a "living" natural product it is not possible nor do we feel desirable to strive for total uniformity of shading and grain pattern. Our aim is at all times to operate within controlled parameters which recognise that some variation is both acceptable and aesthetically pleasing.

Doors constructed from some natural woods may feature sections of sap within the timber. In the majority of cases this will appear on the reverse of the door and is deemed an acceptable feature in accordance with the door specification.

It is possible during the production process that some styles of PVC wrapped doors will bow slightly. The extent to which this occurs is carefully controlled and an acceptable tolerance is deemed as 2mm in every 600mm.

General notes on kitchen units:

Handles:

Kitchen designs are planned with the minimum corner post size as per the manufacturer’s recommendation to avoid a handle clash. Depending on the handle choice, the handles may still touch, which is perfectly acceptable, providing an opening of 85° can still be achieved. As with any door, opening and closing should be done carefully in order to avoid over-stressing the hinges or clash with another surface. After-market hinge restrictors can be obtained from kitchen suppliers in order to limit this angle to the maximum recommended, as above.

Duropal worktops and upstands:

Silestone® worktops (where fitted):

USE, CLEANING AND MAINTENANCE - SILESTONE® AND ECO BY COSENTINO® GENERAL ADVICE FOR USE

REGULAR CLEANING AND MAINTENANCE

Silestone® and ECO by Cosentino® are low porous surfaces and therefore highly resistant to everyday domestic stains. For regular cleaning of Silestone® or ECO by Cosentino® surfaces, Cosentino S.A. recommends you use Q-Action. If Q-Action is not available, water and mild/neutral soap is the best option for regular cleaning.

CLEANING STUBBORN STAINS

The following are some of the actions to be carried out for stubborn stains that have built up over time:

GREASE STAINS

Apply Q-Action to the stain and leave for 2 minutes then gently scrub with a soﬅ scouring pad (normally supplied for ceramic hobs) until it disappears. Rinse immediately with water and dry. If Q-Action is not available, use CIF Original Cream in the same way.

LIMESCALE (glass marks)

Pour an anti-limescale product (like Viakal or similar) onto the surface and leave to act for 1 min. Rinse with plenty of water and dry. Follow the instructions recommended by the manufacturer.

Do not use on any products (taps, sink, etc.) other than the worktop itself as it might damage their finish.

SILICONE AND PUTTY MARKS

Using a blunt spatula and CleanColorsil or Solvent-based silicon remover (that does not contain dichloromethane) gently scrub with a soﬅ scouring pad (for ceramic hobs). Then rinse with plenty of water and dry. We recommend that the marks are removed at the time of installation.

DIFFICULT STAINS

For difficult stains, pour Q-Action (or CIF Original Cream) onto the affected area leaving it to act for 2 mins. Next gently scrub with a soﬅ scouring pad (for ceramic hobs), rinse with plenty of water and dry.

LEATHER FINISH AND VOLCANO TEXTURE COUNTER TOP CLEANING

For the regular cleaning of these surfaces with unpolished textures, Cosentino recommends the use of Q-Action or water and mild soap. For stubborn stains use a non-scratch scouring pad without applying too much force. These textures are rougher and therefore more susceptible to marks making them high maintenance surfaces.

DO NOT USE ABRASIVE CLEANERS ON LEATHER OR VOLCANO TEXTURES.

REACTION TO KNOCKS

One of the characteristics that makes these surfaces stand out is their high resistance to knocks. However, avoid striking areas of the surface that due to the fabrication of design, may be slightly weaker (pointed corners, fine edges, etc.).

REACTION TO HEAT

Aﬅer using kitchen utensils such as frying pans, saucepans, etc., do not place them directly on the surface. Leave them on top of a tablemat (if possible with rubber support) to cool down. The reasoning behind this is that the thermal shock caused by the difference in temperature (cold/hot) could damage the surface.

RECOMMENDED PRECAUTIONS

Do not place outdoors or anywhere exposed to direct UV rays.

Do not place objects recently removed from the heat directly on the surface, use a tablemat/pan stand or similar.

Do not use repellents, sealants, polish, etc.

Do not polish.

Do not use paint strippers, caustic soda, or products with a pH of more than 10. If bleach or solvent is used, it should be diluted with water and never leﬅ in permanent contact with the product. Avoid all chlorine based products and any contact with fluorhydric acid.

Do not use degreasing agents with a high mineral content or highly vigorous products.

Avoiding using metallic scouring pads.

The use of this type of product can lead to the loss of the product guarantee.

Examples of products that should not be used on Silestone® and ECO by Cosentino® surfaces: Paint strippers, brush or metal cleaning products, oven cleaning products, methylene chloride cleaning products, acids for unblocking drains, nail polish remover with acetone, etc.

If any of these products are ever spilled onto the surface, remove as soon as possible using plenty of water and mild soap.

Please view www.silestone.com and www.ecobycosentino.com for more information, cleaning methods, general maintenance and guidance regarding exposure to chemical substances.

In the event of exposure to a chemical not included in this document or the web page, it will be deemed as improper use and will not be covered by the guarantee.

Cosentino® is in accordance with the council directive of 21 December 1998 on the approximation of the laws of the Member States regarding materials and articles intended to come into contact with foodstuffs.

Glass splash back to hobs - care and maintenance notes:

A glass ‘splash back’ manufactured by Intaglio Glass and Design may have been fitted behind your kitchen hob. The following is an extract from the manufacturer’s iCoat Colour Care and Maintenance instructions for this splash back;

EXTRACTOR FANS (DMEV SYSTEM)

Greenwood Unity CV2GIP mechanical extract fans have been fitted in your home. These are continuously running single point dMEV (decentralised Mechanical Extract Ventilation) fans with GIP (Guaranteed Installed Performance). The fans run continuously at a low (extremely quiet) speed and are automatically ‘boosted’ to a higher speed when required (the fans boost automatically using their humidity sensor). It is essential that the fans remain in operation at all times (unless switched off for maintenance) to maintain good air quality.

Pictures of the Greenwood CV2GIP fan

This is an energy efficient fan designed to provide an economical ventilation solution to the modern home. It utilises SMART Technology to control humidity and boost run-on times to minimise the periods of time when it is running at its highest speed, minimising nuisance running noise and unnecessary energy wastage and heat loss typically associated with ‘traditional’ extract fans.

Please note that where ‘wet rooms’ (such as en suites, bathrooms etc.) have windows with trickle vents in the windows - these are to allow you to provide extra ventilation to these rooms if required. Any statement in manufacturer’s instructions saying that trickle vents should not be installed in the same rooms as the fan can be ignored.

Electrical isolator switches (where applicable) for the extractor fans should be left in the on position to ensure that your home is protected from a build-up of moisture. Failure to use the extractor fans as they have been designed to be used may result in a build-up of condensation and/or mould, and may affect your warranties.

Before carrying out any maintenance or cleaning work on the fans you should refer to the manufacturer’s instructions contained within your home owners pack. A qualified electrician should be employed to carry out any maintenance work on your ventilation fans (apart from general cleaning which can be done by yourself as long as you follow the procedures for cleaning as noted in the manufacturer’s instructions).

- Always isolate the fan from the mains electricity before cleaning it.

- Do not use solvents to clean the fan.

- Wipe the front grille (the internal grille) clean using a slightly damp cloth avoiding getting any water into the internal fan unit. If removing the grille to wash it, you must ensure that it is fully dry before re-fitting.

- Cleaning and servicing – extract from manufacturer’s instructions;

- When re-fitting the internal grille ensure no wires are trapped.

VENTILATION AND AVOIDING CONDENSATION

Condensation will be a problem in all new houses if adequate background heating and ventilation is not used. All new homes need ‘running-in’ and we recommend that you read carefully the section within the NHBC booklet ‘Guide to your new home’, subtitled ‘Reducing Condensation’.

Windows may be fitted with “trickle” ventilators at the top of the window. These can be opened or closed to allow more or less trickle ventilation. We recommend that, particularly during the ‘running-in’ period, the “trickle” ventilators are left fully or partially open to maximise the fresh air entering your home.

The following are general guidelines for your information.

To deal with condensation, take these two steps:

Produce less moisture

Ordinary daily activities produce a lot of moisture very quickly:

Cooking:  To reduce the amount of moisture in the kitchen, cover pans and do not leave kettles boiling, open a window to allow excessive amounts of steam to be ventilated to the outside.

Washing clothes:  Put washing outdoors to dry if you can. Alternatively, please dry the washing in the bathroom (which is designed to accommodate drying clothes) with the door closed – the humidistat function of the extractor fan will help to remove the moist air to the outside (also if weather conditions permit – the bathroom window can be opened). If you have a tumble dryer, ventilate it to the outside (unless it is the self-condensing type).  D.I.Y. kits are available for this.

Drying clothes on radiator-mounted airers or on airers in rooms other than the bathroom may lead to excessive internal moisture.

Ventilate to remove moisture - you can ventilate your home without making draughts.

Some ventilation is required to expel the moisture, which is produced all the time, mostly just by normal breathing of occupants. Keep a small window ajar or a trickle ventilator open when someone is in the room.

You need much more ventilation in the kitchen and bathroom during cooking, washing up, bathing and drying clothes. This means opening windows to assist in the ventilation of moisture to the outside and ensuring that the extractor fans are in full working order.

Close the kitchen and bathroom doors when these rooms are in use. This helps prevent the moisture reaching other rooms, especially bedrooms, which are often colder and more likely to get condensation.

Two useful guides to avoiding unnecessary condensation can be viewed here:

https://hug.nhbc.co.uk/HUG-Portal-View/content/conn/ContentServer/path/Contribution Folders/PDF Files/NHBCCondensationinHomes.pdf

https://hug.nhbc.co.uk/HUG-Portal-View/content/conn/ContentServer/path/Contribution%20Folders/PDF%20Files/NHBCCondensationinRoofSpaces.pdf

TELEVISION INSTALLATION

A television aerial socket has been provided within the Living Room and, depending on specification, other rooms (specific room may depend on house type, please refer to plans). Your individual alterations may have requested additional points or a ‘returned’ signal to additional points in other rooms. Depending on these requests, an aerial amplifier may have been installed alongside the electrical consumer unit and aerial cable run to the attic space. It is your responsibility to arrange for the supply and installation of a suitable aerial and final connections.

COMMUNAL DIGITAL TELEVISION AND SATELLITE INSTALLATION (only applicable to plots 5-8 & 37-42)

A television aerial socket has been provided within the Living Room and, depending on specification, other rooms (specific room may depend on house type, please refer to plans), to which a communal digital aerial and satellite signal will be fed. Your individual alterations may have requested additional points or a ‘returned’ signal to additional points in other rooms. Further information is provided in the Handover Pack.

The provision of a communal digital television and satellite signal means that the signal required for both “free” services, such as Freeview, and “upgrade” services, such as Sky (other providers are available) satellite television can be viewed, subject to the appropriate reception equipment and subscription being provided/installed by the home owner.

What does this mean?

Simply, there is no need (and the Deed of Conditions may prohibit) for multiple TV aerials/satellite dishes to be installed across the development, as this signal is supplied free of charge to the home, with maintenance of the common facilities falling under the responsibility of the factor. The TV signal can be regarded in a similar manner to any other utility, being delivered to the property just as water and electricity are.

The home owner then has the choice of what they want to do with the signal, a standard Freeview enabled TV will be simply “plug and go”, with many upgrade satellite services only requiring subscription/decoder box, but not additional installation/wiring.

Compatibility with Sky Q or other upgraded satellite services

At the time of writing, the communal satellite facility both within and outside your new home is ‘ready to go’ for the connection of services such as Sky +/HD, subject to subscription and receiving equipment being provided by you or your service provider.

In addition, the communal signal which is fed to your home is capable of delivering the feed required for upgraded services which are now reaching the market, such as Sky Q.

However, such services require an upgrade to the final connection hardware/infrastructure in order to provide the necessary distribution of signal. This can simply be ‘swapped out’ with standard equipment, which may need to be done by a TV services contractor before Sky or another provider makes final connections.

Taking Sky as an example, being the dominant provider, they may only provide a Sky Q compatible receiver box, which means the additional piece of hardware described below will definitely be required, even for a “non-Sky Q” subscription.

In most situations with a communal digital TV/satellite, you will find a fibre optic device, called a GTU (Gateway Terminal Unit), normally located adjacent to the electrical consumer unit within an individual property.

A device is now available which can be retro-fitted to this GTU in order to provide compatibility with Sky Q boxes, as shown below.

This product is a Triax 307368 TMDS 42C dSCR (digital Single Cable Router) multi-switch, which also retains the ability to deliver older Sky+/HD services.

At the time of writing, a TMDS 42C multi-switch can be installed for in the region of £135.

What do I need to do?

If you are considering a new subscription with Sky, you will need to arrange installation of the multi-switch described above, which is not part of the communal installation. You have the following 3 options:

1.	 Should the standard terms within the legal missive of the purchase and construction timescales allow, you can request this multi-switch to be fitted as a client Extra, which would then be complete for the point of handover.

2.	 Where time does not allow for this be requested as a client Extra, and your property has been handed over to you, our Customer Care department/Home Owner’s Information Pack will provide detail of the contractor applicable to your development who would arrange an installation at your direct request.

3.	 Once the property has been handed over to you, you can arrange a contractor of your own choice to fit this/a similar product, details of which are provided in the Home Owner’s Information Pack.

Most reputable TV/satellite/audio-visual contractors will provide the installation service/s detailed above. A typical contractor used by Scotia is Campbell & Kennedy – www.campbellkennedy.co.uk.

Should any alternate/additional services and/or products be considered, we would also recommend engaging the services of a specialist contractor as per the example detailed above.

TELEPHONE INSTALLATION

The main incoming telephone line point (master point) is normally located in the living room (specific location depends on house type, please refer to plans). The telephone connection point is compatible with any BT approved phone.

It is your responsibility to arrange connection to your chosen telephone service provider and arrange final connection of secondary socket wiring to the master point.

Fibre broadband internet connectivity

Infrastructure will be installed at the development to provide FTTP (Fibre to the Premise) technology, which provides estimated speeds of up to 300Mbps at the entry point to the home.

Hardware provision for this may include various elements co-located with the consumer unit. These elements, where fitted, should remain in situ and only be worked on by a qualified electrical contractor in the event of failure or modification.

Final connection and service provision within the home remains the homeowner’s responsibility and ultimate connection speeds will be dependent on the service provided by the chosen communications provider.

WINDOWS AND FRENCH DOORS

Your home has white inside/ grey outside inward opening tilt and turn windows and sliding patio doors (where applicable to your house type).

The windows are fitted with lockable window handles to all ground floor windows and standard (non-locking) handles to all first floor windows (where applicable), except in the case of combination windows, which are lockable.

A key is supplied to operate the lockable handles and care should be taken to prevent damage to the handle by trying to force it open when lock is engaged. The key to combination windows should be retained on the window jamb.

The first floor handles (except combination windows) are non-locking (no removable key) to comply with the requirements of the Building Regulations in respect of emergency fire escape. However, the Building Regulations recognise that individual home owners may want to fit additional locking mechanisms to first floor windows after they have moved in to their new home (for example where there are small children in the room) and if you wish to install any of the large variety of ‘child restrictor catches’ or any other additional locking mechanism that are available to your first floor windows then please note that they must be a ‘quick release’ type (without a key which might be lost) - a type which does not hinder escape through the window in the event of an emergency. The restrictor must also be suitable for the type of window and we also recommend that they are fitted by a skilled tradesman and that particular care is taken to ensure that they are fitted strictly in accordance with the restrictor catch manufacturer’s instructions. An incorrectly fitted additional locking mechanism can damage the window and lead to window guarantee problems. Advice can also be obtained from the window supplier (refer to the Schedule of Materials for contact information).

Telescopic poles are available for purchase for the operation of roof windows – a recommended product for the Fakro roof windows is their ZST Telescopic Rod, which can be extended to lengths of 134, 164, 190 and 218 cm.

Notes regarding glass coatings:

To comply with the building regulations all double glazed units installed in your home will have a low emissivity coating. Low emissivity (Low-E) glazing is a vital component of an energy efficient window or patio door. It has a surface coating that allows short wavelength heat from the winter sun to enter your home through the glazing, while reflecting back into the room the long wavelength heating produced by your heating system. This reduces heating costs and minimises internal condensation. Please note that this Low-e coating has considerable advantages but you should be aware that there are some minor features, due to the coating of the glass, which you can see in some or all of the following ways;

•	As a tint in the glass

•	As a ‘haze’ when viewing through the glass at some angles and in some lighting conditions

•	By the appearance of condensation on the outside of the glass under certain weather conditions (which is positive proof that the glass is preventing heat loss from your house)

•	There may be minor blemishes visible arising from the coating process and the tint may also change between individual double glazed units if the units are made from different batches of glass. These are not detrimental to the functioning of the unit and are not a defect.

Please note that if you are replacing any of your double glazed units in the future you should ensure that your glazier uses low emissivity glass in your windows.

Notes regarding glass specifications (safety glass):

In addition to the note regarding Low-e coatings above, you should also be aware that certain windows may have either laminated or toughened safety glass installed. This ‘safety glazing’ is installed to comply with the Building Regulations.

Any future replacement glazing units should be to the same specifications as originally fitted. Any competent glazier will be able to identify the glazing specification used and you should ensure that lower specifications are not used. Please be aware that some larger windows are of considerable weight and this must be taken into consideration by any contractor for manual handling limitations.

It should be noted that windows with safety glazing have characteristics inherent to the nature of the product and its production process. Specifically you may find that the windows fitted with safety glass are heavier. In addition while all double glazed units use ‘processed glass’ (and are subject to an amount of imperfections occurring during the manufacturing process) safety glass is more prone to these minor visual imperfections. An example of this is that when toughened safety glass is being manufactured it is heated to extremely high temperatures, creating micro-tears which on cooling add strength to the glass. This process can result in small imperfections or visual distortions forming on and in the glass- these are not usually noticeable under normal viewing conditions but may be evident under close inspection. They are, however, an acceptable characteristic of the finished product and are not recognised as a defect in the glass itself. Laminated glass, which is manufactured from several layers, has similar characteristics and it can also be subject to minor blemishes and imperfections which is a consequence of the manufacturing process and is not a defect.

Safety Note-Maintenance and Cleaning;

Care should be taken when opening and closing your windows for cleaning and maintenance- never lean out of the window or stand on a chair or other possibly unstable platform to reach the top of the window – use a suitable pole extension when cleaning the glass and window.

Note regarding external sealant to windows and doors;

The windows and, if applicable, patio doors (and other external doors) have an external polysulphide sealant bead between the uPVC frame and the external render bead. This sealant bead is designed to provide a tough weather-tight seal to these joints. The sealant beads should be inspected at least once a year and if any signs of deterioration of this bead are found it should be repaired or replaced with an equal specification exterior polysulphide sealant.

General Cleaning and Maintenance Tips for Windows and French Doors

Glass may be cleaned with either a proprietary household glass cleaner (following the manufacturer’s instructions) or a mild, neutral pH, diluted detergent. Glass can be easily scratched, therefore ensure heavy grime or dirt is removed carefully using soapy water.

uPVC frames should be cleaned every 3 months with a soap or washing up liquid and warm water solution.

A non-abrasive proprietary cleaner suitable for plastic may be used for more stubborn blemishes following the manufacturer’s instructions.

Avoid using solvent based or acid based detergents or abrasive cleaners as these will damage the uPVC frames and glass.

At least once a year lubricate or oil all moving parts & locking points, using only clean and non-resinous grease or oil.

Check all components for looseness or wear. If necessary tighten screws.

Please refer to the manufacturer’s guide/s (contained within your Handover Pack) for more information on maintenance and also for information on operating your windows and patio doors (where applicable).

Copied below are extracts from a typical guide;

INTERNAL DOORS

Internal Doors- General Notes

Handles should be cleaned with a soft non-abrasive cloth and for stubborn stains mild soapy water may be used.  Care should be taken to avoid scratching surface of handles. The mechanism of the handle should be lubricated once a year with a light oil. Hinges and latches/locks should be lubricated on a regular basis with WD40 or similar product.

EXTERNAL DOORS

The external doors fitted to your home are GRP (glass-reinforced plastic) composite and/or fully glazed doors manufactured by Merlin Network (Scotland).

Security locking is accomplished by a 3 stage process:

- Close door

- Lift handle upwards to engage locking mechanism

- Turn the key until locking is completed

General cleaning and maintenance Instructions;

All ironmongery should be cleaned on a regular basis using warm soapy water. Do not use abrasive or corrosive material to clean the ironmongery as this will damage the finish to handles, letter plate, eye viewer, chain and rain deflectors.

Glazing can be cleaned with warm soapy water, avoid using anything which may scratch the glass.

The multi point locking system and hinges should be lubricated with WD40, or a similar product, on a regular basis to ensure the smooth operating capabilities of the cylinder, handle and the locking mechanism. The weather sill at the base of the door should be kept clear of debris to allow the drainage holes to function. The rubber gaskets in the sill and door frame should also be checked periodically for damage and replaced as required.

GARAGE DOORS

A Garador retractable garage door has been fitted to your garage (where applicable). Please refer to the Fitting, Operating and Maintenance instructions for this door contained in your hand over pack (copies of which can be downloaded from the Garador website) for operating and maintenance information and note also the following important points;

- The garage door should be maintained in accordance with the manufacturer’s instructions.

- Always keep the swivelling and opening area of the door clear and make sure neither persons, children in particular, nor objects are located within the door’s area of travel

- Operation of the during heavy winds may be dangerous

- Have a specialist inspect and maintain the door at least once a year

- Have the door tension springs replaced after approx. 25,000 door cycles.

Extracts from manufacturer’s operating instructions;

PROVISION FOR A GROUND FLOOR SHOWER

Some 2 storey house types include provisions for the installation of a shower on the ground floor of your home if you should need one at any point in the future (unless you have asked for a ground floor shower to be installed as a client upgrade).

In most instances the location identified for part or all of this future accessible shower is in the cupboard next to or within the ground floor toilet. Where provision has been made for a possible future shower, a 100mm diameter drainage pipe has been installed under the floor to suit a future shower.

The pipe is installed with a cap and is located just under the top of the concrete floor. Any installer will require to ‘break through’ the floor in this specific location in order to make connection to your home’s drainage system.

If you decide to install a shower in this location in the future please note that, depending on the type of shower you are considering using, we recommend that you consult a qualified heating engineer as your hot water system may need to be upgraded in order to accommodate the shower. Please ensure that all plumbing, electrical and joinery works are carried out by competent tradesmen. This may also require the removal of partitions and the installation of an additional/replacement extractor fan.

OPERATING INSTRUCTIONS FOR THE ELECTRICAL INSTALLATION

The Consumer Control Unit for your property is located, typically, within a cupboard, please refer to drawings for the specific location. It contains labelled main isolator, RCDs and circuit breakers or “trip switches”.

This is a device that controls the electricity supply to your home, splitting the incoming electric supply into various electrical circuits around your home.

The consumer control unit contains Main Switch, RCBOs (Residential Current circuit Breaker with Overload protection), RCD (Residual Current Device) and MCBs (Miniature Circuit Breakers). The main switch is normally ‘ON’. In order to isolate all supplies, switch to ‘OFF’. It may also include a dedicated MCB for a subsidiary consumer unit located within a detached garage, where applicable.

There are two RCDs in your consumer unit. Each RCD protects a section of the consumer unit. They are designed to ‘trip’ when there is an electrical leakage to earth thereby giving protection to personnel. An RCD would normally trip before an MCB.

These circuit breakers and RCDs are all designed to trip if there is a fault in a circuit, or if a faulty appliance is switched on. This helps to prevent serious accidents that may result in damage and injury. Under fault conditions these will be in the ‘tripped position’.

We recommend that the electrical installation in your home is inspected and tested at intervals not exceeding every 10 years.

IF AN ELECTRICAL CIRCUIT FAILS

NOTE:  Electricity is dangerous and can kill. If you are unsure of any aspect of your electrical installation, please consult a qualified electrical contractor – you should do this in the first instance unless you are entirely confident of the steps below.

A circuit may trip OFF. If this happens, you should follow the procedure set out below.

1.    Check with the aid of a torch whether the RCD (mid position) or MCB (fully down) is in the OFF position.

2.      Switch RCD (press down then push to the fully up position) or MCB to ON position.

3.      If the RCD does not re-set, switch off all the MCBs, re-set the RCD then switch on each MCB individually until the faulty circuit is identified.

4.      To identify the cause of the fault switch off all appliances in that circuit, re-set the RCD and MCB, then switch back on each appliance until the defective appliance is found.

Over-filling kettles, irons etc. can cause this type of fault.

N.B.

It is important to ensure that the bulbs used in light fittings do not exceed the rating for that fitting.

SMOKE, HEAT & CARBON MONOXIDE DETECTORS/ ALARMS

Depending on your house type, your home is fitted with smoke detectors in the living room (or dining area) and the ground and, where applicable, first floor halls/bedrooms.

Also a heat detector has been fitted in the kitchen area and a CO (Carbon Monoxide) alarm has been fitted in the vicinity of the gas fired boiler. These alarms are mains operated with battery back-up and connected to bedroom lighting circuits. The smoke detectors are extremely sensitive to smoke and dust particles of any kind and can be activated by the likes of burning toast. The heat detector in the kitchen is less likely to cause ‘false alarm’ problems as it is not responsive to any type of smoke or fumes, only heat such as generated by a chip pan type fire (but not from smoke caused by burning toast or similar). The CO detector monitors Carbon Monoxide levels and its alarm will activate if safe levels are exceeded.

You must read and fully familiarise yourself with the instructions for the smoke, heat and CO detectors. Copies of the instructions are contained in your home owner pack and are also available for downloading from the manufacturer’s website - the instructions contain vital information on the operation and maintenance of your detectors.

If any of the smoke detectors are activated you should check the property and, if no reason for its activation is found, it could be a nuisance alarm caused by cooking smoke reaching one of your smoke detectors or something similar. If this occurs, open a window to clear the smoke or dust and the alarm will cease and test/ maintain the detector as described in its instructions. Please note that smoke alarms are interconnected so that when one is activated, all alarms will sound.

If the heat detector activates you should follow the advice contained in the heat detector instructions.

If the CO alarm activates please carry out the instructions contained in your carbon monoxide alarm instructions. Depending on the type of CO alarm fitted these instructions typically include the following - ventilate the area, turn off appliances, evacuate the property, get medical help for anyone suffering from the effects of CO poisoning, ring your gas supplier or other supplier on their emergency number, do not re-enter the property until the alarm has stopped (if the alarm has been silenced by pressing the Test/Hush button, wait at least 5 minutes to allow the alarm to check that the CO has cleared). Do not use the fuel burning appliance(s) again until they have been checked by an expert. In the case of gas appliances this must be a Registered Gas Installer.

To reset or to test the smoke, heat and CO detectors follow the manufacturer’s instructions as enclosed in your Handover Pack.

The back-up batteries should be changed as recommended by the manufacturer and an intermittent beep normally indicates that the battery needs to be replaced. The CO detector sensor module typically must be replaced after 5 years of operation (refer to its instructions).

WALL TILING

Wall tiles and in particular the grout between tiles should be regularly cleaned using a proprietary tile/grout cleaner in accordance with the manufacturer’s instructions.

Grout should be inspected and any areas which become loose should be replaced.

SHOWER WALL PANELLING (where fitted)

Laminate wall aqua panelling (where fitted) should be cleaned by using hot water and a mild detergent applied with soft cloths or soft nylon brush.  Non-scratch cleaners may also be used. On no account should scouring pads, acid based toilet cleaners or limescale cleaners be used as they will damage the laminate surface of the panel.

Wall panelling and shower enclosure/tray should be dried off after use.

The sealant around the base of the wall panel should be inspected and replaced as necessary to prevent water ingress between the shower tray and the panelling.

INTERNAL DRAINAGE – ACCESS POINTS

Drainage soil and vent stacks run vertically through your home. The soil stacks are hidden within plaster-boarded ducts and bulkheads (which may also have hot and cold water pipework located in them). These ducts and bulkheads may have panels located at points where access may be required in the future if maintenance work is being carried out.

Picture of a typical access panel;

These access panels are recessed into the plasterboard and have a hinged fully removable door for easy and convenient access. They can be painted over, if required, during any future re-decoration work that you may carry out. Please note that these access panels should not be removed or sealed up – they are there to allow fast access to rodding or drainage access points (or hot and cold water valves and the like) – access may be required if, for example, a blockage occurs in the soil pipe.

FLOOR FINISHES

Please note that any wooden flooring or other feature flooring such as tiles or adhered ‘Karndean’ (or similar flooring) laid by you when you move into your home will not be lifted and re-laid as a result of any maintenance work which may require access to the floor. If maintenance work is required to any part of a floor or to any under-floor services we will require you to arrange the lifting and replacement of any feature flooring to allow us access.

Notes regarding concrete floors (normally ground floors) – concrete floors in your home have been finished to standard tolerances obtainable by the material. Before laying floor coverings such as vinyl or wooden overlay flooring to concrete floors you should be aware that some important steps should be taken by you;

- You should have your floor covering installer check the moisture content of the concrete floor. This is particularly important if you are laying the floor covering immediately after moving into your home, as the concrete floor may still be drying out and moisture can affect some flooring materials. If necessary you should allow the concrete floor to dry out sufficiently before laying any flooring which may be affected by moisture or the concrete floor should be treated in accordance with the flooring supplier’s recommendations before installing any vinyl or wooden or other feature type flooring.

- Concrete floors will normally need a self-levelling screed applied prior to laying any vinyl or overlay type floor covering, again in accordance with the floor covering installer’s recommendations.

Notes regarding Chipboard Flooring - Chipboard flooring (normally to the first floor) should be prepared in accordance with manufacturer’s recommendations prior to fitting of vinyls, wooden overlays or ceramic floor tiles. Also note that chipboard flooring may have service ducts installed (sections of flooring which can be removed to allow access to pipes and other services). We have installed these ducts so that they are level with the adjacent floor – however it should be noted that because timber floors naturally shrink as they dry this drying shrinkage of the floor may result in minor differences in level between the duct cover and the surrounding floor. This may become evident with some types of thin floor coverings and your choice of floor coverings should take this possibility into account.

Note regarding installation of carpets to staircases – carpet smooth edge/gripper strips must be glued or screwed to timber staircases – not nailed. Scotia will accept no responsibility for risers damaged due to nailing of carpet grippers.

ROOF SPACE

The attic space has not been designed to allow for storage. Do not use the attic space for storage. Flooring the roof space and using it for storage may cause deflection in the roof structure.

The attic has mineral wool insulation between and over ceiling joists.  This insulation can cause skin irritation. If handling the insulation it is recommended that appropriate protective clothing and equipment be worn.

Care should also be taken if entering the attic – the ceiling plasterboard between the joists will not support your weight and there may be service pipes, extract fan ducting and cables hidden by the insulation that you can damage by inadvertently stepping on them.

Typically 2 storey houses have attic access hatches located in a bedroom ceiling - but if the attic access hatch is located in the first floor hall ceiling in close proximity to the stairwell then particular care should be taken if you are entering or exiting the attic space to avoid falling into the stairwell. Do not stand on or use the stairwell balustrade as a support if entering or exiting the attic.

It is advised that you do not enter the attic space. The attic access hatches should only be used by competent tradesmen for access to the attic space for any essential maintenance works.

CONSTRUCTION OF WALLS, PARTITIONS, FLOORS & CEILINGS

The following notes provide, for your information, outline details of the construction for each part of your home.

This information is generalised and particular areas of your home may differ – always seek appropriate advice and carry out detailed investigation works before making any alteration to your home in the future.

External walls:

The house external walls comprise a 100mm thick block-work with render (and in some cases a facing brick) finish, 50mm wide cavity and EcoWalltf timber framed kit inner leaf. The timber-framed inner leaf comprises; a reflective breather membrane on the cavity side on a 9mm sheathing board, on 140mm thick load bearing timber studs at maximum 600mm centres, with 140mm thick mineral wool insulation (FrameTherm 35) between the studs, 30mm PIR insulation fitted to the inside of the studs, and a reflective vapour control layer fitted on the inside face of the PIR insulation.

On the inside of the timber kit there is a 38mm timber framed service void and 12.5mm thick plasterboard lining.

Safety Note – all external walls are load bearing and must not be altered without getting professional advice.

Indicative diagram of a Typical EcoWall timber framed external wall for your information;

Party walls:

(Walls between houses- where applicable). These walls comprise two 90mm thick timber panels with 9mm sheathing boarding to the cavity side and a 50mm cavity between the panels. Acoustic insulation is fitted between the timber studs. On the room side a layer of 19mm thick plasterboard plank is fitted and then this is over laid with 12.5mm plasterboard. Where there are sockets or other items or electrical services installed on the party walls a service void is also formed using 38mm thick timber framing overlaid with a layer of 12.5mm plasterboard lining.

Safety Note – all party walls are load bearing and are constructed to a fire resistant specification – they must not be altered in any way. If any damage occurs to plasterboard and plank linings to the house side of the party walls the damage must be repaired immediately.

All partitions:

Timber framed partitions with 15mm thick plasterboard each side. Mineral wool acoustic insulation is fitted in the partitions to bedroom, bathroom and other such areas.

SAFETY NOTE – some internal walls are loadbearing, so do not remove or alter them, or make substantial alterations to them, without getting professional advice.

Ground floor:

Concrete floor slab on rigid board insulation with damp proof membrane and sand blinding on up-fill. Plots 1-3 will have a screed finish above the concrete floor slab due to a variation in the insulation specification in these plots (ref. ITC-1126).

First floors;

Intermediate floors comprise engineered I joists with a 15mm decking board on top of the joists and a 22mm thick flooring overlay. 15mm plasterboard linings to the underside of the I joists. A layer of acoustic insulation is installed between the joists.

Safety note – all floor joists are load bearing and must not be cut or notched without first getting professional advice.

Top floor ceilings:

Plasterboard fixed to the underside of the roof trusses.

Future alterations – should you consider making any alterations to your home in the future such as altering the partition layout or forming a new opening through a wall you should check relevant Local Authority permissions and/or use the services of a qualified architect before starting.

The external wall service voids, internal partitions, 1st floors and attic space may all have services such as pipes and cables installed in them – refer to the safety precautions below if installing any fixings into these parts of your home.

Appropriate proprietary fixings should always be used to suit the wall construction (see below).

FIXING TO WALLS, CEILINGS OR FLOORS – IMPORTANT NOTICE

Wall fixings (for pictures, mirrors etc.) must be of the appropriate type for the type of walls described above. Be very careful if nailing or drilling into walls, ceilings or floors to avoid contact with any pipes or electric cables which may lie hidden behind the surface. We recommend that you use a services detector (cable detector) before drilling or nailing – it can reduce the risk of serious injury. If using power tools to install a fixing, you should always use a R.C.D. (residual current device). You should also always check for pipes and cables before drilling or nailing into floors or ceilings.

Note for any houses with under-floor heating (if applicable) - you should never drill or nail into any floor which has under-floor heating fitted.

In addition to the above please note that fixings should never be made to the following wall areas:-

a)	Directly above or below any electrical socket outlet, switch or appliance.

b)	Directly horizontal to any electrical socket outlet, switch or appliance.

This is because electrical cables run in these areas.

external fixings

Any external fixings should only be made with consideration to the Deed of Conditions.

efflorescence

The appearance of a white deposit on external walls is caused by ‘efflorescence’.  This is a consequence of drying out and can often occur after a new house is constructed and is drying out. It can also occur when a wall dries out after period of heavy rain or in the spring as a result of drying out after a wet winter. As well as external wall materials such as block-work and mortar joints, it can also occur on products such as precast window sills, driveway paviours and paving slabs and also internally on concrete floors and areas of similar construction.

The efflorescence is caused by natural salts being drawn out of the wall materials while drying out and is quite normal. It is neither harmful nor detrimental to the performance of the material and, whilst it may look unsightly, the majority usually disappears over time. The advice given by most brick, block, cement and precast concrete manufacturers is that it is best dealt with by the combined effect of time and weather. If efflorescence occurs externally on your home it is our policy to follow this advice and allow it to disappear naturally. It will usually disappear within a few weeks, washed away by normal rainfall. This process may take some time to draw out and remove all of the natural salts causing the efflorescence however it should be apparent that each time the efflorescence appears it will be in decreasing amounts.

Whilst natural weathering is the preferred cure for external efflorescence, if you wish (where it is in a safely accessible location) you can speed up the process by brushing down with a stiff non-metallic brush (not a wire brush), making sure that the deposit does not enter the wall at a lower level. Any remaining deposit can be removed or reduced using a minimum quantity of clean water. We advise that you do not use any proprietary cleaning agents as some varieties contain a concentration of acid, which can permanently affect the appearance of the wall materials. A power washer should not be used as it can damage mortar joints and the wall materials if used incorrectly.

Our advice is that you let the weather deal with external efflorescence.

Other external areas, such as concrete slabs and pathways, may be prone to efflorescence of a slightly different appearance, including red/yellow/brown stains which look similar to rust. This may be caused by the presence of iron oxide in the base materials of the concrete and can indeed cause noticeable variations for a period between neighbouring installations of the same concrete product. Again, this effect has no material impact on the performance or durability of the concrete and it should be temporary.

Care should be taken if applying lawn treatments/weed-killing chemicals in proximity to concrete and stone surfaces as chemical reactions may also cause a rust-like effect which may prove difficult to clean and take time to erode via rainfall.

If efflorescence occurs on internal concrete floors or other such areas then it too can be removed by brushing with a non-metallic brush and then removing the deposits with a vacuum cleaner. Internally occurring efflorescence should disappear quicker after brushing and vacuuming than external efflorescence as the home is dried out by the heating.

Should persistent efflorescence occur internally which does not disappear after removing it by the methods described above, then please contact Scotia Homes’ Customer Care department for further advice.

CARE AND MAINTENANCE OF BOUNDARY WALLS

General Maintenance Advice (where applicable and the responsibility of your own plot, some boundary walls may be the responsibility of the factor/others)

Maintenance of Polysulphide Mastic Sealant

Your boundary walls are pointed with a sealant along the top of the precast concrete copes and under the topmost coping stones. This sealant is to prevent the ingress of water and it should be maintained and kept in good condition. We recommend that should any damage occur or if any signs of deterioration are found in the sealant joints then it should be repaired as soon as possible. Note also that power washing or use of any aggressive chemicals to clean the wall can result in damage to this sealant. For your information an extract from a typical sealant data sheet is contained in

APPENDIX A

Maintenance of Mortar Joints

The mortar joints in the boundary wall blockwork should be periodically inspected (we suggest at least once a year in spring after the worst of the winter weather has passed) and any loose or damaged mortar should be raked out and repaired to prevent water ingress into the wall and possible freeze/thaw damage to the wall.

Cleaning of Boundary Walls

Depending on the geographic location, surrounding environment and prevailing weather conditions all external wall finishes can, over time, suffer from the likes of moss, algae or wind-blown dust and dirt. If you decide to clean the wall to remove any unsightly surface contamination then care should be taken to ensure that you do not damage or stain the wall. Loose wind-blown contaminants can be removed with a soft bristle brush and any more stubborn dirt or moss can be loosened with a little clean water and non-aggressive cleaner. A multi surface biocide can be used to remove algae and other natural plant life. For your information a copy of the manufacturer’s data sheet for a typical product is attached in APPENDIX B

Please note we do not recommend the use of a power washer to clean the boundary walls unless you are experienced in their use, it is a low pressure model and you are confident you can safely avoid any damage to the render or mortar/ sealant joints in the wall- if used incorrectly power washers can drive water into the wall, loosen render and cause considerable damage. A high pressure power washer should never be used.

We strongly recommend, should you decide your wall needs cleaning, that you clean a small inconspicuous area first and allow it to dry to make sure you are satisfied with the result.

Please also note that parts of your boundary walls have received a water repellent treatment and the following section provides more information on this treatment.

Water Repellent treatment

It is likely that a masonry protection cream has been applied (where applicable) to the stone cope at the top of the wall, precast concrete copes at steps in the walls and also to the facing block basecourse (under the rendered area of the walls). This masonry protection treatment lasts over 25 years and if you do decide to use an algae cleaner or similar product on your walls it would be recommended to re-apply similar masonry protection after the area has thoroughly dried. An extract of a typical product data sheet is contained in APPENDIX C

for your information.

Repairing Damage to Boundary walls

Any damage to your boundary wall, such as impact damage, should be repaired as soon as possible.

If significant damage occurs then specialist advice should be obtained on its method of repair and all repair works should be carried out by an experienced tradesman.

Gardening Activities near boundary walls

There are some garden activities to be avoided near to your boundary walls including;

Do not excavate deep holes near to the wall (for deep water features or ponds and the like) - risk of undermining the walls foundations causing collapse of the wall. If you are digging near the wall please do not go deeper than 450mm without seeking specialist advice.

Do not plant trees or shrubs near to the wall unless they are of a type which will remain compact with minimal spread of roots. Any young tree or shrub planted too close to the wall which then grows big can cause damage to the wall foundations arising in loss of integrity of the wall.

Do not change the existing ground levels alongside the boundary walls. Lowering the existing ground levels can allow winter frosts to reach the foundation level causing damage to the wall from ‘frost heave’. Raising the ground levels can allow moisture in the ground access into the wall leading to possible render damage or damage to other parts of the boundary walls.

Fixings into Boundary Walls

We do not recommend installing any fixings into the boundary wall as they can allow an entry point for moisture which can then freeze and damage the surrounding wall area. However, if you do decide to install fixings (for handing basket brackets or similar items, then you should ensure that the fixing is of the appropriate type for the purpose that you are using it for. The boundary walls must not be used as supports for any heavy items.

APPENDIX A

Extract from Fosroc Nitoseal MS60 sealant data sheet.

APPENDIX B

Copy of Safeguard Soluguard Multi Surface Biocide data sheet.

APPENDIX C

Copy of Safeguard Stormdry Masonry Protection Cream Data sheet.

EXTERNAL AREAS

Manholes give access to the underground drains - do not obstruct or cover them with soil. You may need to provide access to them quickly if there is a blockage. Please note that there are live underground services cables in the ground around your house. Great care MUST be taken if digging or carrying out excavation work in the vicinity of live underground cable routes.

Underground cables may be found just below the surface, although they are normally laid between 0.45m to 1.0m deep from the surface. Reduced depth may result from ground disturbance after laying or because the cable had to be laid over an underground obstruction. Even shallow excavations (e.g. for post holing and fencing work or for garden features such as ponds) may be a source of danger.

If you do uncover a cable during excavation work - ALWAYS assume it is live. If in any doubt contact a qualified person to seek advice before carrying out excavation work.

Garden and exterior areas maintenance - caring for your garden.

Fencing and gates – boundary fencing has been finished with a water based satin wood-stain in a colour approximate to RAL 7016. Re-treatment should be done in the same or similar colour.

Depending on the layout of the external areas for your particular plot, some or all of the following notes may be applicable;

Caring for the grass (including trees and shrubs where they have been provided) in your garden is essential. This will ensure that the planting is successfully established and your garden thrives.

The rear gardens of most new homes are finished in rotovated topsoil, allowing you the opportunity of designing and landscaping to your own requirements. It is important that the landscaping is carried out as soon as possible after the date of the handover, as it is only by working the soil that it will remain aerated and weeds will be prevented from becoming established. This will also help to establish the finished level of the soil and ensure it drains more effectively- so reducing the potential of any flooding during wet weather conditions (see also maintenance of garden areas below). However, if there has been rain please take this into consideration when carrying out landscaping work to your rear garden – let the topsoil dry out sufficiently before working on it - compacting wet topsoil will damage it making it unsuitable for good drainage or good grass or plant growth.

The areas to the front of your home may be turfed and/or have shrubs, hedging or trees planted in them.

There follows some important care and maintenance requirements for your garden ground;

Maintenance of garden areas;

Watering of turf and planted areas – In the absence of regular heavy rainfall you should water turf at least twice a week – daily if the weather is hot and dry – after moving in. A newly turfed garden looks deceptively mature but the new grass has only a very small reserve of moisture in the soil attached to the turf. Until the grass roots grow into the underlying soil the turf is prone to drying out and shrinking. This can leave unsightly gaps. Light rain is often not enough to sufficiently water the turf and underlying soil. The best way to irrigate your garden is by using an oscillating sprinkler. Trees, shrubs and hedging also need copious watering after planting. As with turf, the roots have not yet grown into the surrounding soil and can only pick up moisture from a very limited area. Planning permission for planting schemes usually requires that planting shown on the approved plans is maintained for a specified period of time. This obligation is passed on to you once you take up ownership of the property. Scotia Homes does not replace turf, trees, hedging or shrubs that have failed due to a lack of watering.

Damage to turf – Walking on turf before it has properly settled in can cause considerable damage. Dents and hollows made on new turf will not disappear and are often difficult to repair. It usually takes about a month to become firm enough to walk on, but this can vary according to weather and soil conditions. If you are installing or removing a sprinkler use wide boards to spread your weight and minimise damage.

Mowing turf – it is recommended that you do not mow the turf for at least the first week after moving in. Let it grow to establish itself and make sure before mowing for the first time that its roots have grown down into the soil below.  For the first cut leave the grass higher than normal and then gradually reduce the height in subsequent mowings until you reach the height you want.

Turf areas – In order to assist drainage of these areas the turf requires to be regularly aerated, to a minimum depth of 25/30mm by spiking the turf with a garden fork or spade.

For better results deeper spiking (100-150mm deep) with an appropriate tool proprietary tool should be carried out and the holes filled with a free draining material such as a lawn dressing or horticultural sand.

In the event that your lawn does become waterlogged you should, wherever possible, avoid walking on it until it dries out.

Garden areas – If you intend to create a lawn we would recommend that you seek expert advice on the preparation and sowing of the grass seed or laying of turf as clay soils particularly will require the addition of sharp sand, organic matter or compost to aid drainage.

For the preparation and continued maintenance of your garden areas for growing plants/trees/bushes etc., we would recommend that you follow advice available online from the Royal Horticultural Society or other similar gardening websites as these provide tips and advice on how to get the best out of your garden and the type of plants best suited to clay soils.

Additional notes for garden areas;

Fencing – in some cases it is possible that a rear or side boundary is shared with other plots on the development and fencing has previously been erected at the time of completion of those plots. Under normal circumstances, this will not be replaced and may be subject to natural weathering, resulting in colour differences which are not considered to be a defect. Where joins/extensions require to be made to existing fencing, any remedial works will be undertaken, but this will not include the replacement of whole panels/sections, unless they are defective.

Rotary clothes dryer – If a rotary clothes dryer has been provided, please note that children should not play with this product – it is recommended that when not in use it is folded and stored safely out of the reach of children.

Damp proof courses – there are damp proof courses built into your external walls to prevent damp from the ground soaking up the outside walls. These are normally approximately 150mm from the ground level around your house. It is important that these damp proof courses are kept clear – if you are carrying out any landscaping or ground-works alongside your external walls then please ensure that you do not cover these damp proof courses (including any cavity weep vents) or otherwise bridge them, allowing damp to rise up past the damp proof course.

DRAINAGE CONSIDERATIONS

The rainwater and any driveway drainage has been designed to comply with Local Authority Regulations (such as planning, building control and roads construction consent conditions) and SEPA (Scottish Environment Protection Agency) requirements including SUDS (Sustainable Urban Drainage Systems) requirements. In simplified terms these regulations require us to ensure that the drainage systems designed and installed around your home collects any rainwater which falls onto your house and surrounding plot and drains it away in a responsible manner.

There are a number of very important points that you should be aware of in relation to the drainage around your home;

Alterations to your driveway or parking spaces (or other areas within your plot curtilage). It is important that rainwater does not run off your plot onto the adjacent roads and footpaths (this is particularly important where the road is adopted by the local authority). We have designed the access driveway to ensure that any rainwater falling onto it either runs off into your plot where it soaks away into the ground or is collected into a gully or a permeable surface is used on the drive (such as gravel). If you subsequently make any alterations to your drive you must bear this in mind and make sure you have obtained the necessary permissions from the relevant local authority. For example if you have a gravel drive which slopes down to the road outside your home and you decide to have it tarred then you will also have to install suitable drainage to deal with any rainwater which falls onto the drive. Failure to make such drainage provision will be likely to lead to the local authority demanding that the original surface be reinstated. Also if you extend your drive over garden ground you must ensure that existing drainage provisions are adequate. Finally, it should also be noted that if you are changing the surface of your driveway the local council may require that an initial portion of your drive must be a ‘hard surface’ – not stone chippings or gravel or similar loose surface- again it is important that you obtain the necessary permissions prior to making any alteration to your drive.

Alterations to your garden ground. Removal of garden areas and installation of, for example, large impermeable patio areas or a large area of other hard standing will reduce the area of ground available to soak up rainwater and could lead to flooding problems if adequate drainage is not installed at the same time. If you decide to ‘slab over’ your garden ground you must also ensure that you make adequate provision for dealing with any rainwater to avoid increasing the risks of flooding your own and your neighbours properties.

Maintenance of the drainage system. It is essential that the drainage systems installed around your property are maintained to keep them in good working order. This not only ensures that any rainwater which falls onto your house and plot is dealt with efficiently, but will ensure that risk of flooding to your home and your neighbours is minimised. Similarly the foul drainage needs maintained to keep it in good working condition and to ensure it does not become blocked or damaged. Depending on the particular drainage systems installed around your home the following general maintenance notes should be adhered to (where applicable);

Rainwater gutters and downpipes- depending on the likes of tall trees and other sources of debris in the surrounding area rainwater gutters require to be cleaned out on a regular basis to prevent debris and dirt finding its way into the underground rainwater drainage system and either blocking it or reducing its effectiveness. Keeping the rainwater gutters clear also reduces the possibility of them over flowing during thunder storms or periods of very heavy rain- a leaking or over flowing gutter could damage the external envelope of your home and lead to damp and other problems.

Underground rainwater and foul drainage pipes- you are responsible for the maintenance and repair of your underground drainage pipes from your house to the disconnecting manholes. Disconnecting manholes are normally located in your access drive or in the front garden. To minimise problems with your underground drainage it is essential that inappropriate items are not allowed to enter your underground drainage pipes as per the further notes below.

Drives / parking areas (if installed) – porous paving grids - paving grids are a strong interlocking 100% recycled cellular porous plastic paving grid system for grass reinforcement, ground stabilisation & gravel retention for regular trafficked surfaces (pedestrian and vehicles). These can be installed with either a grass or gravel filled surface, with gravel being used for the majority of driveways.

Images of typical paving grids:

Gravel drives (where applicable)– these are generally maintenance free and only need raked level on occasion to remove any rutting caused by cars or footpath traffic and the gravel may need ‘topped’ up from time to time to keep it looking at its best.

Garden ground – please refer to the maintenance information contained in the previous ‘External Areas’ section.

Avoiding blocked drains. The foul drainage system from your home is designed to take used water from sinks, showers, baths and toilet waste. The drainage is not designed to take inappropriate items such as wipes (baby, personal cleaning and the like), sanitary items, cotton wool, cotton buds, disposable nappies, cooking fat or oil or grease and similar substances.

Blocked drains can lead to flooding of your property and your neighbouring properties. A majority of blocked drains are caused by inappropriate items being put down the toilet or fat, oil or grease being put down the sink. Please refer to the Scottish Water material on the following pages for more information.

Water butts. If you decide to install a water butt to one or more of your rainwater downpipes please ensure that you also fit an over-flow back into the rainwater downpipe (to avoid the water butt over-flowing and causing flooding) and that any water butts are located in accordance with any relevant Deed of Conditions. Kits for water butt overflows are available in any good garden centre.

Temporary waste water treatment plant (TWWTP)

A temporary plant for the treatment of waste water will be operational from first completions up until the point at which mains sewerage is extended to the development by Scottish Water. This is located within public open space at the South-East corner of the development.

Operation and maintenance of this plant will be the responsibility of the factor and will be covered by their charges, as originally noted in the factoring information sheet. It is anticipated that this charge would be reflected by a commensurate decrease of sewerage charges within the Council Tax charges until mains sewerage is connected.

As with any other similar development infrastructure, such as electricity substations etc., the TWWTP should not be interfered with.

Image showing above-ground elements of plant:

The system can be seen as a developed and larger-scale version of what you may know as a septic tank, designed for the use of multiple residential or larger properties.

It uses colonies of live natural microorganisms (biomass) to break down the pollutants in the sewage. Many chemicals used in households and commercial establishments can inhibit or kill these micro-organisms; particularly if used in excessive amounts. Generally speaking all common household cleaning fluids are acceptable, provided they are used in accordance with the makers’ instructions and stipulated concentrations. The golden rule is "If in doubt - leave it out”. Commercial cleansing products are much stronger and some can adversely affect the biology. Should you be considering the use of “non-mainstream” cleaning products or techniques, you should consult with the factor initially in order that they can confirm these will not have a negative effect on the TWWTP.

The system process is designed to achieve a high quality effluent from a domestic sewage feed. The biological process requires the addition of power and air. Blowers, pumps, air lifts and diffusers are used to control the process, movement/recycling of liquids and solids and provide oxygen for the biological process. Within the unit there are aerobic zones, controlling aerobic biological treatment, nitrification and denitrification. The process energy efficiency is optimised as a result of utilising biological de-nitrification and high efficiency air diffusers. The air supply is provided from a blower mounted remotely from the plant adjacent to the electrical control panel.

Images showing typical underground elements:

METERS

The Electric meter is typically located adjacent to the consumer unit. The Gas meter is located in an external meter box.

UTILITY SUPPLIERS

The existing suppliers for gas and electricity to your new home will be recorded and your understanding of this confirmed on the ‘New Home Introduction’ form. Suppliers are required to be in place prior to completion for the purposes of installing infrastructure, making connections, and testing various features of the property. At the time of writing, the supplier for both gas and electricity (where applicable) will be British Gas at the point of handover.

Once you have taken possession of your new home and ownership has been legally transferred, it of course becomes your own right to decide which particular supplier you wish to use. It is at this point that meter readings are recorded on handover documentation, thereby denoting the change in responsibility for payment of ongoing bills. This same documentation, specifically the Handover Certificate, also includes MPAN (Meter Point Administration Number) and MPRN (Meter Point Reference Number) details, which are determined well in advance of construction completion and provide supply point identification for your new home.

It is strongly recommended that you keep this Handover Certificate in a safe place.

Utility suppliers are then provided, by us, with these readings and confirmation of change of responsibility in order that they may start to invoice you directly as a private customer and homeowner.

From this point, it is possible for you to review, and indeed change, the tariff and/or supplier for gas and/or electricity. Although the administration of the changed contact details may take a little time for some suppliers to update, all that is required to process a change is simply the MPAN and/or MPRN details as a starting point.

Whilst there is an inevitable time period during which specific contact details applicable to an address are updated to current suppliers and this is subject to administrative process, the use of correct MPAN/MPRN details as noted above should provide sufficient reference for review and/or change of supplier after the point of handover.

N.B.	Some developments may already be fitted with ‘smart’ meters, which allow for both remote taking of meter readings and a separate display of usage and costs. These meters are progressively being installed in both new and existing properties, and will become prevalent in the near future. Should your new home be fitted with a ‘smart’ meter and you choose to change supplier, please be aware that you may lose some ‘smart’ functionality if the chosen supplier is not yet compliant with this technology.

LOCAL AUTHORITY REFUSE AND RECYCLING COLLECTION

The development has been planned to incorporate the required storage stances for wheeled bins and routes for collection vehicles. The responsibility for organising a wheeled bin with the local council (Aberdeenshire Council) is your own, and you may have already done so, if not, please utilise the contact details for the council below.

NOTE: Collection vehicle routes will not generally traverse roads which are not adopted or to be adopted. Where a property is accessed by a non-adopted surface, this may require you to place the appropriate containers at designated locations close to the collection route on the appropriate day/s. Plots 13, 14, 16 and 17 share a designated collection point for refuse which is located opposite the shared access to these four plots. Plots 43-50 also have similar collection points adjacent to the (to be) adopted public road as the plots are accessed by non-adopted driveways which cross a swale. Waste and recycling collection will be done from these points and wheeled bins/containers should be left there on the designated collection days, as per the council calendar.

Should you have any queries or need advice regarding Waste and Recycling, perhaps for additional bins, advice on special collections or waste collection calendars in your area, please contact the Aberdeenshire Council Waste Team on 0845 6003900 or at waste@aberdeenshire.gov.uk

council tax

The local authority will be aware of the new homes which are within your development, with a responsibility for payment of council tax falling upon the new owner (yourself). The authority will have made a banding valuation for your own property type and will issue payment instructions and schedules accordingly.

Should you not receive confirmation of this from Aberdeenshire Council or have any questions, please contact their Revenues and Benefits team at:

•	E-mail: council.tax@aberdeenshire.gov.uk

•	Phone: 0845 6081201

•	Letter: PO Box 18533, Inverurie, AB51 5WX

•	https://www.aberdeenshire.gov.uk/council-tax/

temporary awpr diversions 2017-2018

As you will be aware, Foveran Village is very closely situated to the A90 trunk road, which is being upgraded to dual carriageway status as part of the wider AWPR (Aberdeen Western Peripheral Route) project.

The adjacent changes will result in the road following a slightly different route past Foveran but, once all works including the appropriate junction are completed, a better road connection both to the North and South will be available, with the benefit of increased noise separation from this key transport route.

At the time of writing (October 2017-January 2018), temporary road closures and diversions have been put in place by the relevant authorities. However, these remain outwith the control of Scotia and may vary as the road nears completion. For up to date information, we recommend checking https://www.transport.gov.scot/projects/aberdeen-western-peripheral-route-balmedie-to-tipperty/ on a regular basis.

SCHEDULE OF TEST CERTIFICATES

ALPHA INTEC GAS BOILER

Installation and servicing instructions (including service record) are contained in your hand over pack.

Energy related Products (ErP) Directive

On 26th September 2015 a new Energy related Product (ErP) directive from the EU came into force.

The ErP directive was designed to help the EU achieve its target to reduce energy use by 20% and increase the share of renewable energies by 20% by 2020. It affects all space and water heaters, ensuring they meet minimum efficiency requirements, and require the same type of energy efficiency labels as fridges and freezers.

You will still be able to install products purchased prior to 26th September 2015, but after this date, boiler manufacturers and installers have to ensure that the products they use and the systems they commission, meet the minimum requirements within this new Energy related Products directive.

Space and water heating products are required to have an energy label, already familiar on other white goods such as A+++ rated dishwashers/washing machines, and manufacturers are only able to sell compliant products after 26th September 2015.

Boiler manufacturers are responsible for ensuring their products have compliant energy labelling while the installer is responsible for providing the energy labelling for a complete heating system. A system efficiency figure is calculated, based on the different components of the system (boiler, controls, renewables etc.), which is then added to the energy efficiency label to complete the installation.

The example below shows the kind of information you can expect to see. An example of a label for the heating system used by Scotia Homes and compliant with the ErP directive is shown on the following pages.

Source: HHIC

SCHEDULE OF MATERIALS

| Item | Description | Supplied by | Tel No./Website |
| --- | --- | --- | --- |
| Structural timber frame | Including floor and roof joists, eaves, fascia boards and gable barge boards. | Deeside Timberframe Limited, Stonehaven | 01569 767123 http://www.deesidetimberframe.com/ |
| Windows | White/grey uPVC Kommerling 070 Gold system or Deceuninck 2800 Profile tilt and turn and fixed pane windows | Merlin Network (Scotland) | 01383 821182 http://www.merlinnetwork.co.uk/ |
| Roof windows | Fakro GB RAL 7022 external finish, white internally. | Rembrand Timber Merchants, Dundee | 01382 323200 http://www.rembrand.co/ |
| Patio doors | Merlin Network white inside/ anthracite grey outside uPVC sliding patio doors. | Merlin Network (Scotland) | 01383 821182 http://www.merlinnetwork.co.uk/ |
| Internal Door Leafs | Premdor Ladder moulded solid core internal door leafs. | Orchard Timber Products, Forfar | 01307 474800 http://www.orchardtimberproducts.co.uk/ |
| Ironmongery for internal doors | Door Handles – Carlisle Brass Trend ref SZM 160 CPSN (polished chrome/ satin finish). Bathroom thumbturn and release- Carlisle Brass Serozzetta ref SZM004-CP, polished chrome. | Williams Ironmongery, Aberdeen | 01224 644441 http://www.williamsironmongery.com/contact/ |
| External Doorsets | Kommerling 070 Gold system or Deceuninck or Rehau GRP/uPVC composite external doorsets (grey outer/white inner). | Merlin Network (Scotland) | 01383 821182 http://www.merlinnetwork.co.uk/ |
| Garage doors (where applicable) | Garador Carlton Retractable framed garage door factory finished colour anthracite grey. | Keyline, Aberdeen | 01224 576100 http://www.keyline.co.uk/store/1101 |
| Skirting boards & Door Facings | MDF 95 x 14mm skirtings and 70 x 18mm facings, 18mm thick MDf cill boards, 18mm thick MDF bulkhead tops. | Fleming Buildbase, Aberdeen | 01224 258200 http://www.buildbase.co.uk/storefinder/store/Aberdeen-1228 |
| Wardrobe doors | Sliding mirror doors. | Swan-Robes Ltd., Alva | 01259 762669 http://www.swanrobes.co.uk/ |
| Kitchen Units & Worktops | Nobilia range with laminate worktops. | James Laing & Son Ltd, Inverurie, Aberdeenshire | 01467 620311 http://www.laings.com/ |
| Kitchen Appliances | Various, principally Smeg (depending on plot/Extras). | James Laing & Son Ltd, Inverurie, Aberdeenshire | 01467 620311 http://www.laings.com/ |
| Kitchen sink and sink mixer tap | Rangemaster Glendale stainless steel inset sink 1 ½ bowl and drainer with Bristan Ruby monobloc sink mixer. | Plumbase, Aberdeen | 01224 561100 http://www.plumbase.co.uk/ |
| Utility room sink and taps | Leisure inset stainless steel single bowl sink with Bristan high neck chrome pillar taps. | Plumbase, Aberdeen | 01224 561100 http://www.plumbase.co.uk/ |
| Sanitary-ware (standard bathroom) | Ideal Standard Tempo 1 tap hole wash hand basin and semi pedestal with chrome plated Bristan Prism basin mixer. Ideal Standard Tempo Cube 1700 x 700 bath with Unilux panel and chrome plated Bristan Prism bath filler. Ideal standard Tempo WC pan close coupled or back-to-wall with Tempo cistern or concealed cistern and Tempo seat and cover. | Plumbase, Aberdeen | 01224 561100 http://www.plumbase.co.uk/ |
| Sanitary-ware (standard en-suite – where applicable to house type) | Ideal Standard Tempo 1 tap hole wash hand basin and semi pedestal with chrome plated Prism basin mixer. Ideal standard Tempo WC pan close coupled or back-to-wall with Tempo cistern or concealed cistern and Tempo seat and cover. Just Fusion shower tray with Bristan Prism thermostatic dual control shower valve with adjustable riser with Ideal Standard Synergy chrome/ clear glass enclosure. | Plumbase, Aberdeen | 01224 561100 http://www.plumbase.co.uk/ |
| Central Heating + Hot Water System | Alpha Intec boiler, gas saver unit and associated controls and valves (including thermal store where fitted). | Plumb Center, Aberdeen | 01224 626497 http://www.plumbcenter.co.uk/branch/aberdeen-drain/ |
| Radiators | Myson Premier HE. | Plumb Center, Aberdeen | 01224 626497 http://www.plumbcenter.co.uk/branch/aberdeen-drain/ |
| Radiator Valves | Danfoss RASC2 (15mm). | Plumb Center, Aberdeen | 01224 626497 http://www.plumbcenter.co.uk/branch/aberdeen-drain/ |
| Communal TV facility and internal switching | (ONLY APPLICABLE TO PLOTS 5-8 & 37-42) | Campbell & Kennedy, Glasgow | 0141 952 1933 https://www.campbellkennedy.co.uk/contact/ |
| Switches, Sockets and electrical accessories | Click Mode Range switches and sockets. | Holland House Electrical Co Ltd, Aberdeen | 01224 638129 http://www.hollandhouseelectrical.co.uk/ |
| Stairwell wall light fitting | Astro KYO 7075 | Holland House Electrical Co Ltd, Aberdeen | 01224 638129 http://www.hollandhouseelectrical.co.uk/ |
| Extract Fans | Greenwood extract fans. | Holland House Electrical Co Ltd, Aberdeen | 01224 638129 http://www.hollandhouseelectrical.co.uk/ |
| Smoke, Heat + CO detectors | Aico Ei141 smoke detectors, Aico Ei261ENRC CO detectors and Aico Ei144 heat detectors (where fitted). | Holland House Electrical Co Ltd, Aberdeen | 01224 638129 http://www.hollandhouseelectrical.co.uk/ |
| External light fittings | Front Doors - Searchlight up and down wall light ref 7008-2SS. Back doors -Ansell A100PC 100w bulkead light with polycarbonate lens. | Holland House Electrical Co Ltd, Aberdeen | 01224 638129 http://www.hollandhouseelectrical.co.uk/ |
| Gutters and downpipes | Marley deepflow gutters and circular downpipes. | Drain Center, Aberdeen | 01224 626497 http://www.plumbcenter.co.uk/branch/aberdeen-drain/ |
| Roof Tiles | Marley Edgemere interlocking concrete roof tiles with Marley Modern ridge tile, Marley Universal verge units and Marley Modern hip tiles (where applicable). | Marley Contract Services, Glasgow | 0141 761 4321 http://www.marleycontractservices.co.uk/ |
| Flat roofs | Sarnafil single ply roofing membrane. | BriggsAmasco, Aberdeen | 01224 662380 https://briggsamasco.co.uk/ |
| Attic insulation | Glass fibre mineral wool insulation in attic space (350mm thick loft roll 40). | Supplied and installed by Logical Insulation Solutions Ltd, Grangemouth | 01324 477090 http://www.logicalinsulations.co.uk/ |
| Precast door thresholds | Natural colour smooth precast concrete. | Inverurie Precast, Inverurie | 01467 624367 http://www.inverurieprecast.co.uk/ |
| External walls Render | Dry Dash Roughcast Stonepack Nordic Chips on stonepack silver sand and snowcrete white cement top coat with white Renderplas RS15 stop beads, MJX15 movement joint beads and B20 bellcast beads. | Keyline, Aberdeen | 01224 576100 http://www.keyline.co.uk/store/1101 |
| Facing brick | Blockley black facing brick | Bricklink Ltd., Bellside | 01698 501400 http://bricklink.co.uk/ |
| Timber fencing | Timber fencing and gates to gardens NOTE: Finished in water based satin woodstain in a colour approximate to RAL 7016, this colour should be maintained during the course of any re-treatment. | TBC | TBC |
| Plot landscaping | Including turf, planting (where applicable), grey riven precast concrete paving slabs, Bodpave for driveways etc. | Hard landscaping – JKR Contractors Ltd. Soft landscaping – Beechwood Services Ltd. | JKR - 01358 701 665 http://www.jkrcontractors.com/ Beechwood - 01561 321139 http://www.beechwoods.co.uk/ |
| Paint to Internal Walls (standard decoration) | Dulux Trade super matt emulsion (colour white to bathrooms and toilets, colour Timeless to all other walls). | Dulux Decorator Centre, Aberdeen | 01224 573044 https://www.duluxdecoratorcentre.co.uk/stores/aberdeen |
| Paint to ceilings (standard decoration) | Dulux Trade super matt emulsion colour white. | Dulux Decorator Centre, Aberdeen | 01224 573044 https://www.duluxdecoratorcentre.co.uk/stores/aberdeen |
| Paint to skirting boards, internal doors, internal door facings, staircase spindles etc. (standard) | Dulux Quick Dry Satinwood (colour Timeless) | Dulux Decorator Centre, Aberdeen | 01224 573044 https://www.duluxdecoratorcentre.co.uk/stores/aberdeen |

Note - Not all items or colours are applicable to all properties

Scotia (Foveran Village) Limited

Balmacassie, Ellon, AB41 8QR ● Tel: 01358 722441 ● Fax: 01358 723499

Email: info@scotia-homes.co.uk ● www.scotia-homes.co.uk